- Systems and bands. Please, assign the following systems to appropriate bands by using arrows.

Mass Remote Control

Remote Signalling

Remote Control

Remote Measurement

Narrowband PLC services

Broadband BPL services

f = 4 – 150 kHz

f > 150 kHz

f = 0.3 – 3.4 kHz

f < 300 Hz

- W2S command series of mass remote control. Please, fill in the names of the labelled sections of the command series of mass remote control.

Command part

Address part

- High-frequency power plants telephony. Please, assign the following terms to the appropriate description and fill in the abbreviation based on their location in the following scheme.

Low-Pass Filters

Lightning arrester

Routing detent

Capacitive section

Impedance match

Transmission facility

Earthing (ground)

Prevents the entry of network components to communication section

It works on the principle of single-channel telephony and creates a narrowband vf telecommunication channel

Protects communication devices from overvoltage, for example in case of coupling capacitor failure

It is used for safe short-circuits during maintenance

It provides impedance match between the coupling and telecommunication section

LP1, LP2

It is implemented as a notch filter to the band of a signal. Prevents entering the signal to a substation, and thus, saves the signal energy

Distribution board

LPF2

LPF1

TE

SC1

Short-Circuit Switch

SC1

Short-Circuit Switch

HCF 
High-frequency cable

Line

LP2

Lightning Protector

Transmission equipment

CF
Coupling Filter

CC1 
Coupling Capacitor

CC2 
Coupling Capacitor

LP1

Lightning Protector

LPF1, LPF2

CC1, CC2

CF

TE

CS1, CS2