- Systems and bands. Please, assign the following systems to appropriate bands by using arrows.

Mass Remote Control

Remote Signalling

Remote Control

Remote Measurement

Narrowband PLC services

Broadband BPL services

f = 4 – 150 kHz

f > 150 kHz

f = 0.3 – 3,4 kHz

f < 300 Hz

- W2S  command series of mass remote control. Please, fill in the names of the labelled sections of the command series of mass remote control.

- High-frequency power plants telephony. Please, assign the following terms to the appropriate description and fill in the abbreviation based on their location in the following scheme.

Low-Pass Filters

Routing detent

Capacitive section

Impedance match

Transmission facility

Earthing (ground)

It is implemented as a notch filter to the band of a signal. Prevents entering the signal to a substation, and thus, saves the signal energy

Distribution board

LPF2

LPF1

TE

SC1

Short-Circuit Switch

SC1

Short-Circuit Switch

HCF 
High-frequency cable

Line

LP2

Lightning Protector

Transmission equipment

CF
Coupling Filter

CC1 
Coupling Capacitor

CC2 
Coupling Capacitor

LP1

Lightning Protector

Prevents the entry of network components to communication section

Lightning arrester

It works on the principle of single-channel telephony and creates a narrowband vf telecommunication channel

Protects communication devices from overvoltage, for example in case of coupling capacitor failure

It is used for safe short-circuits during maintenance

It provides impedance match between the coupling and telecommunication section